## Sheet1
Supply Rural Home Pole | Merged Generic Category Type For Cluster | Phase Damage Half Village | Damage Transformer Capacity Kva Connections Overloaded Holder Name | Rural Supply Tube Wells Tubewells | Uncategorized English Remarks | Other Language Remarks
Consumer Problem-Supply Failed In His Gali From When Issue Is Coming- 3 days Consumer Type- Rural/Urban |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming - 1 HOUR Consumer Type- Rural | VILL Transformer damage from last- 5 DAYS Transformer Capacity- 100 KVA No of Connections- NA When TF Damage Last time-NA TF Overloaded Yes/No-NA Account Holder Name- NA Account Number- NA Last Bill date- NA Receipt number- NA Consumer Type/Rural | Consumer Problem - Supply Failed Of All Tubewells From When Issue Is Coming - 8 Days Consumer Type - Rural | Consumer Problem-Supply Failed In His Area From When Issue Is Coming- 3 pm Consumer Type- Urban | fault in pole
Consumer Problem-Supply Failed In His MOHALLA From When Issue Is Coming - 8 pm today Consumer Type- /Urban |  | Consumer Problem-Supply Failed due to lt line damage In his mohalla From When Issue Is Coming- last 1 day Consumer Type--Rural | PTW- Transformer Damage From Last - 20 days Transformer Capacity - 100 kva No of Connections - 6+ When TF Damage Last time - 9 months TF Overloaded - no Account Holder Name -na Account Number - na Last Bill date- na Receipt Number- na Consumer Type - Rural | Consumer Problem- Supply Failed In all tube wells From When Issue Is Coming--- 4DAYS Consumer Type- Rural | Consumer Problem-Supply Failed In His Area From When Issue Is Coming- morning Consumer Type- Urban | pole se khrab
CONSUMER PROBLEM- SUPPLY FAILED IN HIS ALL PTW From When Issue Is Coming - 10 AM TODAY Consumer Type- Rural |  | ConsumerProblem-11 KV line damage in his ALL PTW From When Issue Is Coming-3 DAYS Consumer Type/Rural | VILL Transformer damage from last- 2 DAYS Transformer Capacity- 100 KVA No of Connections- 60 When TF Damage Last time-NA TF Overloaded Yes/No-NA Account Holder Name- NA Account Number- NA Last Bill date- NA Receipt number- NA Consumer Type/Rural | Consumer Problem------ Supply Failed In all tube wells From When Issue Is Coming----- 28 hrs Consumer Type :- rural | - Consumer Problem -supply failed in his T/F ISSU PTW From When Issue Is Coming- 3 DAYS Consumer Type- Rural | DV01072505347...................... pending
Consumer Problem-Supply Failed In His personal PTW From When Issue Is Coming - 2 DAYS Consumer Type - Rural |  | ConsumerProblem-11 KV line damage in his PTW From When Issue Is Coming- 5 DAYS Consumer Type- Rural/ | VILL Transformer damage from last days -10 hrs Transformer Capacity- 16 kva No of Connections-8 Account Holder Name- COLLECTOR SINGH Account Number- 6171407000 Consumer Type - Rural | Consumer Problem------ Supply Failed In all tube wells From When Issue Is Coming----- 4 days Consumer Type :- rural | Consumer Problem-Supply Failed In His Area From When Issue Is Coming- 8 ; 30 pm Consumer Type- Urban | 1 day say
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - today 6 am Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming-2 PM TODAY Consumer Type- Rural | PTW Transformer damage from last days - 5 DAYS Transformer Capacity-25 kva No of Connections- 1 When TF Damage Last time- na TF Overloaded - no Account Holder Name- na Account Number- na Consumer Type - Rural | Consumer Problem- Supply Failed In His all tubewell From When Issue Is Coming -yesterday 11pm Consumer Type- Rural | Consumer Problem-Supply Failed In His Personal From When Issue Is Coming -TODAY NOON Consumer Type- Rural | 1 phase ni aa rha
Consumer Problem-Supply Failed In His Area From When Issue Is Coming -TODAY MORNING Consumer Type- Rural |  | Consumer Problem- LT line damage in his VILLAGE From When Issue Is Coming- 5 DAY Consumer Type- Rural | ptw - Transformer damage from last - 9 day Transformer Capacity - 25 KVA No of Connections -1 TF Overloaded - NO Account Holder Name -na Account Number -na Consumer Type - Rural |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming- morning Consumer Type- Rural | 11 kva line fault
Consumer Problem-Supply Failed In His Gali From When Issue Is Coming- morning 6 am Consumer Type- Rural |  | Consumer Problem - 11 KV Line Damaged In His All Ptw From When Issue Is Coming - 2 Days Consumer Type - Rural | PTW Transformer damage from last days - 3 days Transformer Capacity-25 kva No of Connections-01 When TF Damage Last time-1 month TF Overloaded -NO Account Holder Name- SUMAN DEVI Account Number- 503041736582 Consumer Type - Rural |  | Consumer Problem-Supply Failed In His Personal From When Issue Is Coming- 7 Days Consumer Type- Rural | 11000 wali line ke fault ke sambandh mein
Consumer Problem-Supply Failed In His GALI From When Issue Is Coming - YESTERDAY 3PM Consumer Type- Rural |  | Consumer Problem - 11 KV Line Damaged In His Area From When Issue Is Coming - YESTERDAY 8 AM Consumer Type - Rural | PTW Transformer damage from last days - 4 days Transformer Capacity- 63kva No of Connections-3 |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming -3 DAYS Consumer Type- Rural/Urban | 2 din se light nhi h pani tak nhi he gharo me
Consumer Problem-Supply Failed In His MOHALLA From When Issue Is Coming - 7 PM TODAY Consumer Type - Rural/ |  | Consumer Problem - LT line damage in his AREA From When Issue Is Coming - TODAY 6 AM Consumer Type- Rural | PTW Transformer damage from last days - 4-5 days Transformer Capacity- 25 kva No of Connections- 1 TF Overloaded - no Account Holder Name- na Account Number- 8777792000 Last Bill date- na Consumer Type - Rural |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming- yesterday Consumer Type- Rural | 2 ghante se supply nahi hai..5-6 se din se baar baar light aati jati rehti hai 20-30 min mai kripiya krke iska samadhan kre permanently
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - Today Morning - 6 : Am Consumer Type - Rural |  | Consumer Problem - Supply Failed In his AREA DUE TO LT LINE DAMAGE From When Issue Is Coming - 5 MINS AGO Consumer Type - Rural... | PTW Transformer damage from last days - 1 week Transformer Capacity- 100 kva No of Connections-1 When TF Damage Last time- na TF Overloaded - na Account Holder Name-na Account Number-na Consumer Type - Rural |  | Consumer Problem-Supply Failed In His AREA From When Issue Is Coming-TODAY MORNING Consumer Type ---Urban | 24 ghante se adhik ho gaye hain aur sirf bijali ek bar I hai aur uske thodi der bad chale gai hai tab Se bijali bilkul bhi nahin I hai bahut pareshan hai so nahin Pa Rahe subah se padhna hai aur bhai logon ko office Jana Hai Koi so nahin Pa raha hai itni garmi mein aur Abhi Tak bijali nahin I Hai jabki Bagal wale mohalle mein bijali a rahi hai bus Meri Gali mein hi nahin a Rahi
Consumer Problem- Supply Failed In His PTW From When Issue Is Coming -8 DAYS Consumer Type- Rural |  | Consumer Problem - Supply Failed In His HALF VILLAGE DUE TO LT LINE DAMAGE From When Issue Is Coming - TODAY 9:30 PM Consumer Type - Rural.... | PTW Transformer damage from last days - 3 days Transformer Capacity-25 kva No of Connections-6 Conn |  | Consumer Problem-Supply Failed In His Half Village From When Issue Is Coming- yesterday Evening Consumer Type- Rural | 24 hour nhi aa rhi
Consumer Problem-Supply Failed In His PERSONAL PTW From When Issue Is Coming-3 DAYS Consumer Type- Rural |  | Consumer Problem - Supply Failed In His VILLAGE DUE TO 11 KV LINE DAMAGE From When Issue Is Coming - TODAY 2:00 PM Consumer Type - Rural..... | PTW Transformer damage from last - 20 days - Transformer Capacity-100 kva No of Connections-05 TF Overloaded -no Account Holder Name-na Account Number-na Consumer Type - Rural |  | ConsumerProblem- Two phase damage in his home from pole From When Issue Is Coming- 2 days Consumer Type- /Urban | 24 घंटे में 3 घंटे लाइट मिल रही है
Consumer Problem :-Supply Failed In His tower From When Issue Is Coming :-yesterday 2 pm Consumer Type :-Rural |  | Consumer Problem- due to LT line damage customer half village supply failed From When Issue Is Coming- 4 days Consumer Type-Rural | PTW Transformer damage from last- 1 DAY Transformer Capacity- 25 KV No of Connections- 1 Account Holder Name- CHHATRAPAL SHARMA Account Number- 7719010173 |  | Consumer Problem- One phase damage in his HOUSE From When Issue Is Coming- YESTERDAY NIGHT Consumer Type- Rural | 3 bje se light ni aa rhi as pas ki 5-6 dukano ki
Consumer Problem- Supply Failed In His mohalla From When Issue Is Coming- today 5 hours Consumer Type- rural |  | Consumer Problem- LT line damage in his VILLAGE From When Issue Is Coming- 2 days Consumer Type- Rural | PTW Transformer damage from last days - 20 days Transformer Capacity- 25 kva No of Connections-1 When TF Damage Last time- TF Overloaded Yes/No-no Account Holder Name-na Account Number-na Last Bill date- Receipt number- Consumer Type/Rural Landmark- |  | ConsumerProblem- Two phase damage in his 6 house From When Issue Is Coming 1 month Consumer Type- /Urban | 3 dino se complaint kar raha huin par abhi tak line nahi aa rahi hai har bar ke complaint me likhkar bhej rahe ho complaint resolved. Jab complaint resolved ho gaya hai tab hum kya jabardasti complaint kar rahe hain.
Consumer Problem-Supply Failed In His HALF MOHALLA From When Issue Is Coming - 11 AM TODAY Consumer Type- Urban |  | Consumer Problem- LT line damage in his Half village From When Issue Is Coming-12 days Consumer Type-Rural | PTW Transformer damage from last days -1 days Transformer Capacity-25 kva No of Connections-2 Consumer Type - Rural |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 DAY Consumer Type - Rural/Urban | 3 दिन से लाइट नहीं आ रही है मेरा भाई सर्वाइकल (रीढ़ की हड्डी फ्रैक्चर) का मरीज है बहुत प्रोब्लेम है sir
Consumer Problem :- SUPPLY FAILED IN HIS area From when issue is coming :- 9.00 AM TODAY Consumer Type- Rural |  | Consumer Problem- LT line damage in his VILLAGE From When Issue Is Coming - 3 DAYS Consumer Type - Rural | PTW Transformer Damage From Last-1 MONTH Transformer Capacity-25 KVA No of Connections- 1 When TF Damage Last time-NA TF Overloaded - YES Account Holder Name- NA Account Number- NA Consumer Type - Rural |  | Consumer Problem- Supply Failed In His Personal From When Issue Is Coming - 1 MONTH Consumer Type- Urban | 6 ghante se line nahin a rahi hai
Consumer Problem : SUPPLY FAILED IN HIS MOHALLA From when issue is coming :- YESTERDAY 8 PM Consumer Type- Urban |  | Consumer Problem- ONE phase damage in his Village FROM TF From When Issue Is Coming- 1 PM TODAY Consumer Type/Rural- | PTW/Transformer Damage From Last- 20 days Transformer Capacity-25 kva No of Connections- 1 When TF Damage Last time- 2year TF Overloaded - no Account Holder Name- na Account Number- na Consumer Type - Rural |  | Consumer Problem- Supply Failed In His Village From When Issue Is Coming - 7 :00 pm yesterday Consumer Type- Rural/Urban | 6 ghante se line nahin aa rahi hai
consumer problem - supply failed in his all ptw From When Issue Is Coming-last 3 days Consumer Type- Rural |  | Consumer Problem- One phase damage in half village From When Issue Is Coming- 1 days Consumer Type - rural | Transformer damage from last days - 5 days Transformer Capacity- 25 kva No of Connections- 70 When TF Damage Last time- 25 days TF Overloaded - yes Account Holder Name- sheela devi Account Number- na Last Bill date- Receipt Number- Consumer Type - Rural Landmark- |  | Consumer Problem- Supply Failed In His Village From When Issue Is Coming - 1 month Consumer Type- Rural/ | 722102903061
Consumer Problem - Supply Failed In ALL PTW From When Issue Is Coming - 20 DAYS Consumer Type - Rural |  | Consumer Problem- One phase damage in his village From When Issue Is Coming yesterday 11 am Consumer Type- Rural | VILL - Transformer damage from last- 3 days Transformer Capacity- 63 kva No of Connections- 20 TF Overloaded - no Account Holder Name- NA Account Number- NA Consumer Type- Rural |  | Consumer Problem- Supply Failed In His Village 9 ptw From When Issue Is Coming - yesterday 6:am Consumer Type- Rural/Urban | Aaj subha 8 baje se power supply nahi aa rahi hai
Consumer Problem- supply failed in his MOHALLA From When Issue Is Coming - 1 DAY Consumer Type- Rural |  | Consumer Problem- One phase damage in his half Village From When Issue Is Coming- yesterday 8 am Consumer Type/Rural | vill Transformer damage from last- 3 days Transformer Capacity- na No of Connections- 300 consumer type- rural |  | Consumer Problem-Supply Failed In His village From When Issue Is Coming- today 4 am Consumer Type/Rural | Aji su ha 4 baje se supply nhi hai kirpa kar ke supply dene ki kirpa kare mharaj apki ati kirpa hogi
Consumer Problem- supply failed in his MOHALLA From When Issue Is Coming - yesterday 2 PM Consumer Type- Rural |  | Consumer Problem- One phase damage in his Half Village From When Issue Is Coming- Last 1 Days Consumer Type - Rural | VILL Transformer Damage From Last-4 DAYS Transformer Capacity-25 KVA No of Connections-7 TF Overloaded -No Account Holder Name-NA Account Number-NA Consumer Type - Rural |  | Vill Transformer Damage From Last- 2 days Transformer Capacity- 25 kva No of Connections- 90 When TF Damage Last time- 4 days TF Overloaded - yes | Apurti
Consumer Problem- supply failed in his ptw From When Issue Is Coming - 2 days Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming- YESTERDAY Consumer Type/Rural- | VILL Transformer Damage From - 5 days Transformer Capacity- 10 kva No of Connections- na TF Overloaded -- na Account Holder Name- na Account Number- Last Bill date- na Receipt number- na Consumer Type--Rural Landmark- na |  | Vill Transformer Damage From Last- 3 days Transformer Capacity- 16 kva No of Connections- 25 When TF Damage Last time- 1 month TF Overloaded - yes | Bagipur
Consumer Problem - Supply Failed In His PTW From When Issue Is Coming - 5 DAYS Consumer Type - Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming-11am today Consumer Type- Rural | VILL Transformer damage from last- 15 days Transformer Capacity-16 KVA No of Connections-8-9 Consumer Type - Rural |  | consumer problem - supply failed in his village From When Issue Is Coming- 8 PM TODAY Consumer Type- Rural | Bargad house
Consumer Problem- supply failed in his VILL From When Issue Is Coming - 2 DAYS Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village ptw From When Issue Is Coming- today 9 am Consumer Type/Rural | vill Transformer damage from last- 4 days Transformer Capacity- 25 kva No of Connections- 20 TF Overloaded Yes/No- no Consumer Type--Rural |  | Consumer Problem - Supply Failed In His Personal godown from pole From When Issue Is Coming :-- 5 days Consumer Type- Urban | Bijali aapurti
Consumer Problem- supply failed in his vill From When Issue Is Coming - 2 days Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming-1 PM TODAY Consumer Type- Rural | vill Transformer damage from last- 4 days Transformer Capacity- 63 kva No of Connections- NA TF Overloaded Yes/No- no Consumer Type--Rural- |  | Consumer Problem- supply failed in his village From When Issue Is Coming- 1 hours todays Consumer Type- Urban | Bijali nahin a rahi hai
Consumer Problem- supply failed in his vill From When Issue Is Coming - yesterday 3 pm Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming- 1 DAY Consumer Type- Rural | vill/Tf Damage From Last :-3 days Transformer Capacity :--10 Kva No of Connections -17-18 When TF Damage Last time -NA TF Overloaded Yes/No -yes Account Holder Name -na Account Number -na Last Bill date -na Receipt number -na Consumer Type - Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- TODAY 8:30 AM Consumer Type- /Urban | Bijli ki apurti nhi
Consumer Problem- supply failed in his vill ptw From When Issue Is Coming - 2 days Consumer Type- Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming- 1 DAY Consumer Type- Rural | ptw- Transformer damage from last-12 days Transformer Capacity-100 kva No of Connections- 3 When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name- na Account Number- 1890196000 Last Bill date- na Receipt number-na Consumer Type-Rural Landmark-na |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- Today Morning | Bijli nhi aa rahi
Consumer Problem - Supply Failed In His ALL PTW From When Issue Is Coming - 4 DAYS Consumer Type - Rural |  | Consumer Problem- One phase damage in his Village From When Issue Is Coming- 3 days Consumer Type- Rural | vill - Transformer damage from last-7 days Transformer Capacity- na No of Connections-na When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name- na Account Number- na Last Bill date- na Receipt number-na Consumer Type-Rural Landmark-na |  | Consumer Problem- One phase damage in his mohalla From When Issue Is Coming- 30 mints Consumer Type - Urban | C-41 2nd floor, sarita dham, pathauli village, Agra
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - YESTERDAY 5 PM Consumer Type - Rural |  | Consumer Problem- One phase damage in his village/area From When Issue Is Coming-today 8 am Consumer Type - Urban | vill - Transformer damage from last-yesterday night Transformer Capacity- 63 kva No of Connections-na When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name- na Account Number- na Last Bill date- na Receipt number-na Consumer Type-Rural Landmark-na |  | CONSUMER PROBLEM- SUPPLY FAILED IN HIS HALF VILLAGE + JIO TOWER From When Issue Is Coming - 48 HRS Consumer Type- Rural
consumer problem - supply failed in his area From When Issue Is Coming - today 6AM Consumer Type- Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- 5 pm today Consumer Type- /Urban | vill -Transformer damage from last-3 days Transformer Capacity-63 kva No of Connections-na When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name- na Account Number- na Last Bill date- na Receipt number-na Consumer Type-Rural Landmark-na |  | consumer problem -Supply Failed In His Area From When Issue Is Coming- TODAY 7:00 AM Consumer Type---Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 6 pm yesterday Consumer Type - Rural |  | Consumer Problem- One phase damage in his half Area From When Issue Is Coming- 1 hrs Consumer Type- Urban | vill -Transformer damage from last-4 days Transformer Capacity-25 kva No of Connections-na When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name-NEERAJ DEVI Account Number- 5010453000 Last Bill date- na Receipt number-na Consumer Type-Rural Landmark-na |  | Consumer Problem-Supply Failed In His 20 ptw From When Issue Is Coming - 20 days Consumer Type- Rural
Consumer Problem - Supply failed in his area From When Issue Is Coming - Today Morning Consumer Type - Rural |  | Consumer Problem - One phase damage in his HALF Area From When Issue Is Coming - YESTERDAY 6 PM Consumer Type - Urban | PTW Transformer damage from last days - 3days Transformer Capacity- 25kva No of Connections- 1 When TF Damage Last time- na TF Overloaded - na Account Holder Name- na Account Number- na - Consumer Type - Rural |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 2 HRS TODAY Consumer Ty PE - Urban
Consumer Problem- supply failed in his area From When Issue Is Coming - 7:00 am today Consumer Type- Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- TODAY 12:30 PM Consumer Type- Urban | / PTW Transformer damage from last days - 10day Transformer Capacity-25kva No of Connections-1 When TF Damage Last time- na TF Overloaded - na Account Holder Name- Hitendra Account Number- 5655635000 Consumer Type - Rural |  | Consumer Problem-Supply Failed In His Personal From When Issue Is Coming- 3 PM Consumer Type/Rural/Urban-
Consumer Problem - Supply Failed In His Area From When Issue Is Coming- TODAY 12.:30 HRS Consumer Type - Rural |  | Consumer Problem- One phase damage in his factory From When Issue Is Coming- today 9 am Consumer Type-rural | AREA Transformer damage from last days - YESTERDAY 10 PM Transformer Capacity- NA No of Connections- 25 When TF Damage Last time- 1 YEAR TF Overloaded - NO Account Holder Name- PREETI AGRAWAL Account Number-6720781062 Last Bill date-NA Receipt Number- NA Consumer Type - Urban |  | Consumer Problem-Supply Failed In His 5 ptw from tf From When Issue Is Coming - 15 days Consumer Type- Rural
Consumer Problem- supply failed in his colony From When Issue Is Coming - yesterday night Consumer Type- Rural |  | Consumer Problem- One phase damage in his factory From When Issue Is Coming- TODAY 7.00 am Consumer Type -Urban- | area Transformer damage from last-4 days Transformer Capacity- na No of Connections- 150-200 When TF Damage Last time-na TF Overloaded Yes/No- na Account Holder Name-na Account Number- na Last Bill date-na Receipt number- na Consumer Type/Rural |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - yesterday 10 pm Consumer Type- Urban
Consumer Problem - Supply Failed In His COLONY From When Issue Is Coming- TODAY 4.00 AM Consumer Type - Rural |  | Consumer Problem- One phase damage in his 3 factory From When Issue Is Coming- today 10 am Consumer Type -Urban- |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - afternoon 1 pm consumer type - Urban
Consumer Problem - Supply failed in his MOHALLA From When Issue Is Coming - TODAY 5 PM Consumer Type - Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming-8 pm yesterday Consumer Type - Urban |  |  | Consumer Problem-Supply Failed In His AREA From When Issue Is Coming- YESTERDAY 5 PM Consumer Type/ Urban
Consumer Problem- supply failed in his personal (TOWER) From When Issue Is Coming - 4:00 am (morning) Consumer Type- Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming-1 hour Consumer Type-- Urban |  |  | Consumer Problem-Supply Failed In His AREA From When Issue Is Coming- 5 PM TODAY Consumer Type/ Urban
Consumer Problem - Supply Failed In His VILL From When Issue Is Coming - 5 HRS Consumer Type - RURAL |  | Consumer Problem- One phase damage in his personal home From When Issue Is Coming- 1 hrs Consumer Type - Urban |  |  | Consumer Problem-Supply FAILED In HIS AREA From When Issue Is Coming - YESTERDAY Consumer Type- Rural
Consumer Problem :- Supply Failed In His Colony From When Issue Is Coming :- 2 Days Consumer Type :- Rural |  | Consumer Problem- One phase damage in his 3-4 houses From When Issue Is Coming-2 days Consumer Type-Urban |  |  | Consumer Problem-Supply Failed In His Half Village ( pole Sparking ) From When Issue Is Coming- yesterday Consumer Type- Rural
Consumer Problem :- Supply Failed In His Colony From When Issue Is Coming :- 2 Days Consumer Type :- Rural |  | Consumer Problem- One phase damage in his 4 home From When Issue Is Coming-11:30 am today Consumer Type/Urban- |  |  | Consumer Problem-Supply Failed In His Half Village From When Issue Is Coming- 3 hr Consumer Type- Rural
Consumer Problem :-Supply Failed In His mohalla From When Issue Is Coming :3 days Consumer Type :-Rural |  | Consumer Problem- One phase damage in his area From When Issue Is Coming-yesterday 3 pm Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His mohalla from tf From When Issue Is Coming- 24 hrs Consumer Type/Rural
Consumer Problem :-Supply Failed In His ALL PTW From When Issue Is Coming-- 1 WEEK Consumer Type - Rural |  | Consumer Problem- One phase damage in his area From When Issue Is Coming- 4 hrs Consumer Type/ Urban- |  |  | Consumer Problem-Supply Failed In His Village From When Issue Is Coming - 6 HRS TODAY Consumer Type- Rural
Consumer Problem :-Supply Failed In His area From When Issue Is Coming :- yesterday 2 am Consumer Type :-Rural |  | Consumer Problem- One phase damage in his AREA ( 10-12 HOUSE) From When Issue Is Coming- TODAY 9AM Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His Village From When Issue Is Coming - today 2 hr Consumer Type- Rural
Consumer Problem :-Supply Failed In His Area From When Issue Is Coming :-YESTERDAY 11 PM Consumer Type :-Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- 1pm today Consumer Type- Urban |  |  | Consumer Problem-Supply Failed/ TRIPPING In His Area From When Issue Is Coming - 1 HRS TODAY Consumer Type- Rural
Consumer Problem :-Supply Failed In His tower From When Issue Is Coming :-yesterday 5 pm Consumer Type :-Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- 3 hours Consumer Type- Urban |  |  | Consumers Problem :- Supply Failed in His Personal ( tripping ) From When Issue Is Coming- morning Consumer Type/Rural
Consumer Problem ;- Supply Failed in his BSNL Tower From When Issue Is Coming-1 day Consumer Type- Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- 4 HOURS Consumer Type- Urban- |  |  | No supply since 4 am today
Consumer Problem- Supply Failed His Area From When Issue Is Coming- 8 Pm Today Consumer Type - Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- last today 4 pm Consumer Type- Urban |  |  | PTW Transformer damage from last days - 1 month Transformer Capacity-63 KVA Consumer Type - Rural
Consumer Problem- Supply Failed His Area From When Issue Is Coming- 10 Am Today Consumer Type - Rural |  | Consumer Problem- One phase damage in his area From When Issue Is Coming-YESTERDAY 11 PM Consumer Type - Urban |  |  | Transformer Damage From Last - 5 DAYS Transformer Capacity - NA No of Connections - 5 Consumer Type - Rural
Consumer Problem- Supply Failed His Area From When Issue Is Coming- today 11 am Consumer Type-Rural |  | Consumer Problem- One phase damage in his area From When Issue Is Coming-YESTERDAY 8 :30 PM Consumer Type -Urban |  |  | VILL - tf damage from last - Today Morning Transformer Capacity-25KVA No of Connections-Na
Consumer Problem- Supply Failed His Area From When Issue Is Coming- today morning Consumer Type-Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming-1 hour Consumer Type- Urban |  |  | VILL Transformer damage from last days - 1 pm today Transformer Capacity- 100 kva No of Connections- 80 Consumer Type - Urban
Consumer Problem- Supply Failed His Colony From When Issue Is Coming- 2 Pm Today Consumer Type - Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- today 7 a.m. Consumer Type-Urban |  |  | VILL- Transfarmer damage from - 4 DAYS Transformer Capacity - 25 KVA No of Connections-20= 25 When TF Damage Last time- TF Overloaded--No- Account Holder Name- KANTA Account Number- 2090081000 Last Bill date-NA Receipt number-NA Consumer Type--Rural
Consumer Problem- Supply Failed in His AREA From When Issue Is Coming - yesterday 6 pm Consumer Type- Rural |  | Consumer Problem- One phase damage in his area From When Issue Is Coming- today 20 minute Consumer Type- Urban |  |  | VILL-- Transformer damage from last days - 4 days Transformer Capacity- 63 kva No of Connections- 500 TF Overloaded - yes
Consumer Problem- Supply Failed In His Mohalla From When Issue Is Coming - from 12 pm Consumer Type- Urban |  | Consumer Problem--- One Phase Damage in His Area From When Issue Is Coming -14 HOURS Consumer Type- Urban |  |  | VILL. -- Transformer damage from last days - 5 days Transformer Capacity- na No of Connections- na TF Overloaded - na
CONSUMER PROBLEM- SUPPLY FAILED IN HIS all ptw From When Issue Is Coming - 2--3 days Consumer Type- Rural |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- LAST 1 HOUR Consumer Type- URBAN |  |  | voltage up and down
Consumer Problem- Supply Failed In His All Ptw From When Issue Is Coming- 4 days Consumer Type/Rural |  | Consumer Problem- One Phase Damage In His Area From When Issue Is Coming- Last 1 Hour Consumer Type - Urban |  |  | Consumer Problem- Supply Failed In His Area haif From When Issue Is Coming -12 hrs Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - today 2 :30 pm Consumer Type- Rural |  | Consumer Problem- One phase damage in his FACTORY From When Issue Is Coming-2 HOURS Consumer Type - Urban |  |  | Consumer Problem- Supply Failed In His Area POLE From When Issue Is Coming - 6 HRS Consumer Type- Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - today 9 am Consumer Type- Rural |  | Consumer Problem- One phase damage in his factory From When Issue Is Coming-9 am today Consumer Type/Urban |  |  | Consumer Problem-one phase damage damage in his area From When Issue Is Coming-TODAY 2 pm Consumer Type - Rural
Consumer Problem- Supply Failed In His area From When Issue Is Coming - Today 4 pm Consumer Type - Rural |  | Consumer Problem- One phase damage in his HALF Area From When Issue Is Coming-YESTERDAY 11 AM Consumer Type- Rural |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming-- 3 hrs. Consumer Type -Urban
Consumer Problem- Supply Failed In His area From When Issue Is Coming - last today 10 am Consumer Type - Rural |  | Consumer Problem- One phase damage in his HALF AREA From When Issue Is Coming- TODAY 4 AM Consumer Type - Urban |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 2hrs Consumer Type- Rural
consumer problem -Supply Failed In His Area From When Issue Is Coming- 5 Pm Today Consumer Type/Rural |  | Consumer Problem- One phase damage in his in his factory From When Issue Is Coming- 1 DAY Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 5hrs Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming- 12 am today Consumer Type- Rural |  | Consumer Problem- One phase damage in his personal From When Issue Is Coming- today 10 Consumer Type/Urban- |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming - today 12 :00pm Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming -2 PM TODAY Consumer Type- Rural |  | Consumer Problem- One phase damage in his Personal From When Issue Is Coming-today 3am Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His ashram from pole From When Issue Is Coming-- 24.6.25 Consumer Type -Urban
consumer problem -Supply Failed In His Area From When Issue Is Coming- 3 Pm Today Consumer Type/Rural |  | Consumer Problem- One phase damage in his personal From When Issue Is Coming- today 6 a.m. Consumer Type- Urban |  |  | ConsumerProblem- One phase damage in his Area From When Issue Is Coming-2 hour Consumer Type- /Urban
consumer problem -Supply Failed In His Area From When Issue Is Coming-10 Am Today Consumer Type/Rural |  | Consumer Problem- One phase damage in his Personal 2 -3 House From When Issue Is Coming - Last 30 Min Consumer Type- Urban |  |  | Consumer Problem - Supply Failed in His Area From When Issue Is Coming - 8 ; am today Consumer Type- Urban
Consumer Problem- Supply Failed in His Area From When Issue Is Coming - Today 1 PM Consumer Type- Rural |  | Consumer Problem- One phase damage in his personal home From When Issue Is Coming- 3 days Consumer Type- Urban |  |  | Consumer Problem- One phase damage in Area From When Issue Is Coming- today 6 a.m. Consumer Type Rural Urban-
Consumer Problem- Supply Failed in His Area From When Issue Is Coming - Today Morning Consumer Type- Rural |  | Consumer Problem- One phase damage in his PERSONAL HOME From When Issue Is Coming- YESTERDAY 6:00 PM Consumer Type - Urban |  |  | Consumer Problem-Supply Failed In His colony From When Issue Is Coming-4 hour Consumer Type-Urban
CONSUMER PROBLEM- SUPPLY FAILED IN HIS AREA FROM WHEN ISSUE IS COMING- 7 AM TODAY CONSUMER TYPE- RURAL |  | Consumer Problem- Two phase damage in his Mohalla From When Issue Is Coming- 3 Days Consumer Type- Rural |  |  | Consumer Problem- One phase damage in his GTW ( Roadways workshop ) From When Issue Is Coming-1 HOURS Consumer Type- Urban
consumer problem -Supply Failed In His Area From When Issue Is Coming- today 4:00 am Consumer Type-Rural |  | Consumer Problem- One phase damage in his mohlla From When Issue Is Coming- 10 am today Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His Area PTW From When Issue Is Coming - 3 DAYS Consumer Type- Rural
consumer problem -Supply Failed In His Colony From When Issue Is Coming- 4 Pm Today Consumer Type/Rural |  | Consumer Problem :- One phase damage in his ptw From When Issue Is Coming :-4 days Consumer Type :-Rural |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming -7 hours Consumer Type- Rural
Consumer Problem- Supply Failed In His colony From When Issue Is Coming - 7PM TODAY Consumer Type- Urban |  | Consumer Problem- One phase damage in his 4 ptw From When Issue Is Coming- 3 days Consumer Type- Rural |  |  | Consumer Problem :-Supply Failed In His Area 4 Shop From When Issue Is Coming :- YESTERDAY 8 AM Consumer Type :-Urban
Consumer Problem- Supply Failed In His Gali From When Issue Is Coming- Today 10 AM Consumer Type - RURAL |  | Consumer Problem- One phase damage in his Half Mohalla From When Issue Is Coming- 4 Hours Consumer Type- Urban |  |  | Consumer Problem-one phase Supply Failed In His village From When Issue Is Coming - 12 hrs Consumer Type- Rural
Consumer Problem- supply failed in his mohalla From When Issue Is Coming - today 4 pm Consumer Type- Rural/Urban |  | Consumer Problem- One phase damage in his HALF MOHALLA From When Issue Is Coming-2 DAYS Consumer Type- Rural |  |  | Consumer Problem- Supply Failed In His area From When Issue Is Coming -5 hour Consumer Type- Urban
Consumer Problem- Supply Failed In His mohalla From When Issue Is Coming- today 8 :30 am Consumer Type-urban |  | Consumer Problem- One phase damage in his Mohalla + Factory From When Issue Is Coming- 30 min Consumer Type/Rural |  |  | Consumer Problem- Supply Failed In His Area Village From When Issue Is Coming - today 2 am Consumer Type- Rural
Consumer Problem- Supply Failed In His Mohalla From When Issue Is Coming- today night 12 am Consumer Type- Urban |  | Consumer Problem- One phase damage in his moholla From When Issue Is Coming-since 2 hr Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His Area From When Issue Is Coming-today 9 am Consumer Type/Urban
Consumer Problem- supply failed in his MOHALLA From When Issue Is Coming- 3 hours Consumer Type/Rural |  | Consumer Problem- One phase damage in his MOHOLLA From When Issue Is Coming- SINCE YESTERDAY Consumer Type- Rural |  |  | Consumer Problem-Supply Failed In His Personal HOME ( FROM T/F ) From When Issue Is Coming-10 DAYS Consumer Type--Rural
Consumer Problem- Supply Failed In His Mohalla From When Issue Is Coming - today 12 pm Consumer Type- Rural |  | Consumer Problem- One phase damage in his MOHOLLA From When Issue Is Coming- TODAY 11 AM Consumer Type- Urban |  |  | Consumer Problem-Supply Failed In His VILLAGE From When Issue Is Coming - YESTERDAY NIGHT Consumer Type- Rural
Consumer Problem- Supply Failed in His PTW From When Issue Is Coming- ONE MONTH Consumer Type/Rural |  | Consumer Problem- One phase damage in his ptw From When Issue Is Coming- 3 days Consumer Type - Rural |  |  | 01/July/2025 There is no electricity since 11:00am, and now after ten and a half hours at 08:30pm other people have got electricity but there is no power supply in our phase...
Consumer Problem-Supply Failed In His Area From When Issue Is Coming- 5 hr Consumer Type- Urban |  | Consumer Problem- One phase damage in his PTW From When Issue Is Coming- MONTH Consumer Type- Rural |  |  | 12 hours se personal supply bhadhit
Consumer Problem-Supply Failed In His Area From When Issue Is Coming- 2 hr Consumer Type- Urban |  |  |  |  | 15 ghante se koi supply nhi a rhi h indus tower pe koi nhi sun rha h line man
CONSUMER PROBLEM- SUPPLY FAILED IN HIS AREA From When Issue Is Coming - 4 HRS Consumer Type- Urban |  |  |  |  | 2 hours not supply
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming- 3 hr Consumer Type- Urban |  |  |  |  | 2 PHASE NOT COMING AT BSNL BARUASAGAR TELEPHONE EXCHANGE SO BSNL SYSTEMS NOT WORKING
Consumer Problem-Supply Failed In His AREA From When Issue Is Coming- today 8 : 00 am Consumer Type-urban |  |  |  |  | 20-06-2025 se supply band chal rahi he
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming - 1 hour Consumer Type- Urban |  |  |  |  | Already payment done at 12 noon but my supply is not coming till now
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - TODAY 1 PM Consumer Type- URBAN |  |  |  |  | Approx 350 voltage being supplied very high
Consumer Problem-Supply Failed In His area From When Issue Is Coming - 2 hr Consumer Type- Urban |  |  |  |  | AREA transfarmer damage from:- 2 HRS Transformer Capacity- na No of Connections- na When TF Damage Last time- na
Consumer Problem-Supply Failed In His area From When Issue Is Coming- today 5 pm Consumer Type--Urban |  |  |  |  | AREA Transformer damage from last days - yesterday 10 am Transformer Capacity- na No of Connections- na When TF Damage Last time- na TF Overloaded - no Account Holder Name- ICICI BANK MANAGER AMIT TIWARI Account Number- 0430262763 Last Bill date-na Receipt Numberna - Consumer Type - Urban Landmark-
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - today 8 : 00 AM Consumer Type- Urban |  |  |  |  | Area no supply back time 2 hours
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 8 HRS Consumer Type- Urban |  |  |  |  | area. /Transformer damage from last days - 3 days Transformer Capacity- 100 kva No of Connections- 50 Consumer Type - Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming -5 HRS Consumer Type-Urban |  |  |  |  | Cable disconnected from pole.
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming - 1 hour Consumer Type- Urban |  |  |  |  | CITY tf damage from lasT--- TODAY 12 AM Transformer Capacity- NA No of Connections- NA -
Consumer Problem-Supply Failed In His Personal quater From When Issue Is Coming - 2 day Consumer Type- Urban |  |  |  |  | Complaint number share Karen
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming - 1 day Consumer Type- Urban |  |  |  |  | consume problem supply failed in his area from when issue is coming - 4 hrs
Consumer Problem-Supply Failed In His Personal From When Issue Is Coming - 3 HR Consumer Type- Urban |  |  |  |  | Consume rProblem-Supply failed in his VILLAGE From When Issue Is Coming - 2 hours Consumer Type- Rural
Consumer Problem :-Supply Failed In His Area From When Issue Is Coming :--TODAY 9 AM Consumer Type :-Urban |  |  |  |  | Consumer Problem : supply failed in his half village From when issue is coming :- 5 days Consumer Type :-Rural
Consumer Problem-Supply Failed In His AREA From When Issue Is Coming - TODAY 8 AM Consumer Type- Urban |  |  |  |  | Consumer Problem :- One phase damage in his- bsnl TOWER From When Issue Is Coming :-4 :- 00 pm YESTERDAY Consumer Type :-Rural
Consumer Problem-Supply Failed In His Area From When Issue Is Coming -2 hours Consumer Type- Urban |  |  |  |  | Consumer Problem :- SUPPLY FAILED IN HIS HOME From when issue is coming :- 3 days
Consumer Problem : SUPPLY FAILED IN HIS AREA From when issue is coming :- today 4 pm Consumer Type :-- Urban |  |  |  |  | Consumer Problem - all ptw Supply Failed From When Issue Is Coming- 15 day Consumer Type- rural
Consumer Problem - Supply Failed In His Personal From When Issue Is Coming - 5 HR Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area Since - 5 Hours Consumer Type - Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 6 AM Consumer Type - Urban |  |  |  |  | Consumer Problem - 11 KV line damage of tubewells From When Issue Is Coming-3 days Consumer Type- Rural
Consumer Problem - Supply Failed IN HIS AREA From When Issue Is Coming - TODAY 10:00 AM Consumer Type - Urban |  |  |  |  | consumer problem - LOW VOLTAGE Supply In His Area From When Issue Is Coming -- 3 HR Consumer Type -- Urban .
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 6 AM Consumer Type - Urban |  |  |  |  | Consumer Problem - One phase damage in his Area ( 12 HOUSES ) From When Issue Is Coming - TODAY 3:00 PM Consumer Type - Urban.......
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 HOURS |  |  |  |  | Consumer Problem - One Phase Damaged In His AREA From When Issue Is Coming - TODAY 10 AM Consumer Type Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 4 Hours Consumer Type - Urban |  |  |  |  | Consumer Problem - One Phase Damaged In His COLONY From When Issue Is Coming - TODAY MORNING Consumer Type - Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 8 am Today |  |  |  |  | Consumer Problem - One Phase Damaged In His Mohalla From When Issue Is Coming - 4 Hours Consumer Type -Urban
consumer problem - supply failed in his area From When Issue Is Coming - today 8 am Consumer Type- Urban |  |  |  |  | Consumer Problem - supply failed her area From When Issue Is Coming - today 6 am Consumer Type - Rural
Consumer Problem - Supply failed in his AREA From When Issue Is Coming - TODAY 8 AM Consumer Type - Urban |  |  |  |  | consumer problem - supply failed in her area From When Issue Is Coming - 1 hour Consumer Type- Rural
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - yesterday 4 AM |  |  |  |  | Consumer Problem- supply failed in his Area From When Issue Is Coming- 6 pm today Consumer Type- Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 HOURS |  |  |  |  | consumer problem- supply failed in his village From when issue is coming : 2 hr Consumer Type :- rural
Consumer Problem- supply failed in his area From When Issue Is Coming - 8 hrs Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His 5 SHOP FROM POLE From When Issue Is Coming - 12PM TODAY Consumer Type - Urban
Consumer Problem - Supply Failed In His HALF Area From When Issue Is Coming - LAST 3 HRS Consumer Type -Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - Consumer Type- Rural/Urban
Consumer Problem - Supply Failed In His Half Area From When Issue Is Coming - FROM TODAY AFTERNOON 12 PM Consumer Type - Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 DAYS Consumer Type- Urban
Consumer Problem : SUPPLY FAILED IN HIS area From when issue is coming :- 8 PM today consumer type- urban |  |  |  |  | Consumer Problem- supply failed in his Area From When Issue Is Coming- 7 pm today Consumer Type- Urban
Consumer Problem- supply failed in his area From when issue is coming- 4 Hours Today |  |  |  |  | Consumer Problem- supply failed in his SHOP ( NAI KI DUKAN NEAR MITHAI KI DUKAN ) From When Issue Is Coming - yesterday MID NIGHT Consumer Type- /Urban
Consumer Problem- Supply Failed In His half area From When Issue Is Coming - 4 days Consumer Type- Urban |  |  |  |  | consumer problem - supply failed in his village From When Issue Is Coming - 1.5 HOUR Consumer Type - Rural....
Consumer Problem- Supply Failed In His half Area From When Issue Is Coming - 45 minutes today Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His VILLEGE From When Issue Is Coming - 3:PM Consumer Type - Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - TODAY 12 PM Consumer Type- Urban |  |  |  |  | Consumer Problem---- Supply Failed In His 2 HOUSES FROM POLE From When Issue Is Coming - 2 AM TODAY Consumer Type- Rural
consumer problem -supply failed in his area From when issue is coming- 10 hours Consumer type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - last 13 hrs Consumer Type - Urban
consumer problem supply failed in his area from when issue is coming - 2 hrs |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 3 AM Consumer Type - Urban
CONSUMER PROBLEM SUPPLY FAILED IN HIS AREA FROM WHEN ISSUE IS COMING - 5 HRS |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 1 AM Consumer Type - Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 5am today |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY
consumer problem -supply failed in his area From when issue is coming- 2 hours Consumer type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 4:30 AM Consumer Type =-Urban
Consumer Problem- Supply Failed In His area From When Issue Is Coming -8 am today |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 hrs Consumer Type - Urban..
Consumer Problem- Supply Failed In His AREA From When Issue Is Coming- TODAY 1 :00 PM Consumer Type- Urban |  |  |  |  | consumer problem - supply failed in his area From When Issue Is Coming - TODAY Consumer Type- Urban
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 2 hours Consumer Type-Urban/ |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - TODAY 5:00 PM Consumer Type - Rural.....
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 3 pm Consumer Type- urban/ |  |  |  |  | Consumer Problem- supply failed in his area (25 houses) From When Issue Is Coming - 2 days Consumer Type- Rural
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 4 hours Consumer Type- Urban/ |  |  |  |  | Consumer Problem- supply failed in his area (40 houses) From When Issue Is Coming - 5:00 pm Consumer Type- Urban
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 1 pm Consumer Type- Urban/ |  |  |  |  | consumer problem - supply failed in his area From When Issue Is Coming - yesterday 11 am Consumer Type- Urban
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 1 hours Consumer Type- Urban/ |  |  |  |  | Consumer Problem- supply failed in his area From When Issue Is Coming - 12:00 pm Consumer Type- Rural
Consumer Problem- Supply Failed In His Area / From When Issue Is Coming - today 12 pm Consumer Type- Urban/ |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 3 HOURS Consumer Type-Urban (Twitter Case)
Consumer Problem- Supply Failed in His Area From When Issue Is Coming - 2 hours Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - FROM TODAY MORNING 9 AM Consumer Type - Urban
consumer problem -Supply Failed In His Area From When Issue Is Coming- 2 hrs |  |  |  |  | consumer problem - Supply Failed In His Area From When Issue Is Coming - Today 1 AM Consumer Type - Urban
Consumer Problem- Supply Failed in His area From When Issue Is Coming - Today 1PM Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - today 11 am Consumer Type - Urban....
Consumer Problem- Supply Failed In His Area From When Issue Is Coming- 2 hr |  |  |  |  | Consumer Problem - Supply Failed In His Area From When Issue Is Coming - Today 3 Hours Consumer Type - Urban
Consumer Problem- supply failed in his area From When Issue Is Coming- 1 hr Consumer Type - urban |  |  |  |  | Consumer Problem- supply failed in his Area From When Issue Is Coming - today 6 pm Consumer Type- Rural/Urban
Consumer Problem- Supply Failed in His area From When Issue Is Coming - 3 hr Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His AREA From When Issue Is Coming- 8.00 AM MORNING Consumer Type--URBAN
Consumer problem- Supply failed in his Area From When Issue Is Coming- 3 hr Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Govt School From Tf From When Issue Is Coming - Today 8:00 Am Consumer Type - Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 4 hours Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His GOVT. SCHOOL( jr high school bilkhora kala) Meter no.--4119337 From When Issue Is Coming - 15 DAYS Consumer Type - Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 5 hrS today |  |  |  |  | consumer problem - supply failed in his half area From When Issue Is Coming - TODAY Consumer Type- Urban
Consumer Problem- Supply Failed in His area From When Issue Is Coming - today 3 pm Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His HALF AREA From When Issue Is Coming - TODAY 3:00 PM Consumer Type - Rural.......
CONSUMER PROBLEM- SUPPLY FAILED IN HIS AREA FROM WHEN ISSUE IS COMING- 2 HOURS CONSUMER TYPE- URBAN |  |  |  |  | Consumer Problem - Supply Failed In His Half Area From When Issue Is Coming - Yesterday 2:00 Pm Consumer Type - Rural
consumer problem -Supply Failed In His Area From When Issue Is Coming-today 11 am |  |  |  |  | Consumer Problem - Supply Failed In His Half Area Since - today 7 Hours Consumer Type - Urban
Consumer Problem- SUPPLY FAILED in his half area From When Issue Is Coming - 3 Hours Consumer Type- Urban |  |  |  |  | consumer problem - supply failed in his half village From When Issue Is Coming - today 6 am Consumer Type- Rural
consumer problem -Supply Failed In His Half Area From When Issue Is Coming- 30 Minutes Consumer Type/ Urban |  |  |  |  | Consumer Problem - Supply Failed In His HALF VILLAGE From When Issue Is Coming - YESTERDAY Consumer Type - Rural/
Consumer Problem- Supply Failed In His Personal HOME FROM POLE From When Issue Is Coming 2 HRS Consumer Type- Urban |  |  |  |  | Consumer Problem- supply failed in his MANEGER MOUNT LITERA JI SCHOOL From When Issue Is Coming- 7 am today Consumer Type- Urban
Consumer Problem- Supply Failed In His Personal home from pole From When Issue Is Coming yesterday 8 : 00 am Consumer Type- Rural |  |  |  |  | consumer problem - supply failed in his personal ( from pole ) From When Issue Is Coming - 24 hrs Consumer Type- Rural/Urban
Consumer Problem-Supply Failed In His 4 house From Pole From When Issue Is Coming - 2 days Consumer Type- Rural |  |  |  |  | consumer problem - supply failed in his personal ( FROM POLE ) From When Issue Is Coming - TODAY 10 AM Consumer Type- Rural/Urban
Consumer Problem-Supply Failed In His House From Pole From When Issue Is Coming - 9 am today Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His PERSONAL FROM POLE From When Issue Is Coming - 30 MINS AGO Consumer Type - Urban.....
Consumer Problem-Supply Failed In His home from pole From When Issue Is Coming - 24 hours Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed in His Shop From When Issue Is Coming - 2 Days Consumer Type- Urban
Consumer Problem- supply failed in his personal home from pole From When Issue Is Coming- 2 DAYS Consumer Type- Urban |  |  |  |  | consumer problem - Supply Failed In His Street From When Issue Is Coming-TODAY 10:00AM Consumer Type - Urban
CONSUMER PROBLEM- SUPPLY FAILED IN HIS HOME FROM POLE From When Issue Is Coming - 9 AM TODAY Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His VILAGE From When Issue Is Coming - TODAY 3 AM Consumer Type - Rural
Consumer Problem-- Supply Failed In His House From Pole From When Issue Is Coming- 1pm today Consumer Type - Urban |  |  |  |  | Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - 1 HRS Consumer Type - Rural........
Consumer Problem-Supply Failed In His house from pole From When Issue Is Coming - 7 days Consumer Type- Rural |  |  |  |  | Consumer Problem - Supply Failed In His Village From When Issue Is Coming - MORNING 6 AM Consumer Type- Rural
Consumer Problem-Supply Failed In His PERSONAL FROM POLE From When Issue Is Coming - 8 AM TODAY Consumer Type - Urban |  |  |  |  | Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - TODAY 2 AM Consumer Type - Rural
Consumer Problem-Supply Failed In His Personal HOUSE FROM POLE From When Issue Is Coming - 1 DAY Consumer Type- Rural |  |  |  |  | Consumer Problem - Supply Failed In His village From When Issue Is Coming - today 2 am Consumer Type - Rural
Consumer Problem-Supply Failed In His personal home from pole From When Issue Is Coming- 10 days Consumer Type--Rural |  |  |  |  | Consumer Problem - Supply Failed In His Village From When Issue Is Coming - Yesterday Evening - 5 : Pm Consumer Type - Rural
Consumer Problem-Supply Failed In His Personal house from pole From When Issue Is Coming - 1 day Consumer Type- Urban |  |  |  |  | Consumer Problem- supply failed in his Village From When Issue Is Coming- 5 am today Consumer Type- Rural
Consumer Problem-Supply Failed In His Personal house from pole From When Issue Is Coming - 2 pm today Consumer Type- Urban |  |  |  |  | Consumer Problem- supply failed in his Village From When Issue Is Coming- 5 PM TODAY Consumer Type- Rural
Consumer Problem-Supply Failed In His 5-6 HOUSE FROM POLE From When Issue Is Coming - 30 MIN Consumer Type - Rural |  |  |  |  | Consumer Problem- supply failed in his Village From When Issue Is Coming- 8 pm today Consumer Type- Rural
Consumer Problem-Supply Failed In His personal from pole From When Issue Is Coming- 2 days Consumer Type - Urban |  |  |  |  | Consumer Problem - Supply Failed In His village ( 3 ghar from pole) From When Issue Is Coming - yesterday Consumer Type - Rural
Consumer Problem-Supply Failed In His Personal home from pole From When Issue Is Coming - yesterday 1am Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Village ( Khunti Damaged ) From When Issue Is Coming - 2 Days Consumer Type - Rural
Consumer Problem-Supply Failed In His Personal home from pole From When Issue Is Coming - yesterday 8am Consumer Type- Rural |  |  |  |  | Consumer Problem - Supply Failed In His Village All PTW From When Issue Is Coming - 6 days Consumer Type- Rural
Consumer Problem-Supply Failed In His personal house from pole From When Issue Is Coming - yesterday 8 pm Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His Village due to TF damaged ( Capacity NA ) From When Issue Is Coming - TODAY
Consumer Problem-Supply Failed In His personal house from pole From When Issue Is Coming-- FROM YESTERDAY Consumer Type- Rural |  |  |  |  | Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - 3 DAYS Consumer Type - Rural....
Consumer Problem-Supply Failed In His Personal house from pole From When Issue Is Coming- today 1 pm Consumer Type--Rural |  |  |  |  | Consumer Problem - Supply Failed in His village From When Issue Is Coming - 6:30 am today Consumer Type- Rural/
Consumer Problem-Supply Failed In His Personal HOME FROM POLE From When Issue Is Coming -10 DAYS Consumer Type- Urban |  |  |  |  | Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - last night 12 am Consumer Type - Rural
Consumer Problem- Supply Failed In His parsanl home house pole From When Issue Is Coming - 1 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem - Supply Failed In His Village Since - 2 Hour Consumer Type - Rural
Consumer Problem- Supply Failed In His Area parsanl home house pole From When Issue Is Coming - 2 days Consumer Type- /Urban |  |  |  |  | Consumer Problem - Supply Failed Of his shop from pole From When Issue Is Coming - 1 Day Consumer Type - Rural
Consumer Problem- Supply Failed In His Area parsanl home house pole From When Issue Is Coming -1 hrs Consumer Type- Urban |  |  |  |  | Consumer Problem : SUPPLY FAILED IN HIS JAJUMAI prathmik vidyalaya From when issue is coming :- 2 DAYS Consumer Type :- RURAL
Consumer Problem- Supply Failed In His PARSANL HOME HOUSE POLE From When Issue Is Coming -8 HRS Consumer Type- Urban |  |  |  |  | Consumer Problem :- One phase damage in his AREA From When Issue Is Coming :-today 3 PM Consumer Type :-Urban-
Consumer Problem- Supply Failed In His Personal House ( From Pole ) From When Issue Is Coming-today 9 am Consumer Type- urban |  |  |  |  | Consumer Problem :- SUPPLY FAILED IN HIS area due to tf damage Transformer Capacity :-10 kva From when issue is coming :- 25 day
Consumer Problem-Supply Failed In His FROM POLE Personal HOUSE From When Issue Is Coming - 12 ; PM TODAY Consumer Type- Urban |  |  |  |  | Consumer problem :- Supply failed in his area From When Issue Is Coming- 02 days Consumer Type - URBAN
Consumer Problem-Supply Failed In His PERSONAL HOUSE FROM POLE From When Issue Is Coming - 1 DAYS Consumer Type- Urban |  |  |  |  | Consumer Problem : SUPPLY FAILED IN HIS HALF AREA From when issue is coming :- TODAY 9 AM Consumer Type :- Urban
Consumer Problem-Supply Failed In His personal shop from pole From When Issue Is Coming-today 10:30am Consumer Type- Urban |  |  |  |  | Consumer Problem :-LT line damage in his ALL PTW From When Issue Is Coming :- 8 DAYS Consumer Type :-Rural
Consumer Problem-Supply Failed In His PERSONAL HOME POLE From When Issue Is Coming- 1 DAY Consumer Type - Urban |  |  |  |  | Consumer Problem :-Supply Failed In All Ptw From When Issue Is Coming :-3 Hours Consumer Type :-Rural
Consumer Problem -- SUPPLY FAILED IN HIS HOME FROM POLE From When Issue Is Coming- 2 hour Consumer Type - URBAN |  |  |  |  | Consumer Problem :-Supply Failed In Area From When Issue Is Coming :- 2 hours Consumer Type :-Urban
Consumer Problem- Supply Failed In His 3 - 4 HOUSESFROM POLE From When Issue Is Coming- YESTERDAY 8 PM Consumer Type- RURAL |  |  |  |  | Consumer Problem :-Supply Failed In His area From When Issue Is Coming :-today 4 am Consumer Type :-Rural
complaint problem - Supply failed in HIS AREA From When Issue Is Coming- TODAY 3:30 AM Consumer Type/Rural |  |  |  |  | Consumer Problem :-Supply Failed In His 5 ptw From When Issue Is Coming :-today 7 am Consumer Type :-Rural
complaint problem - Supply failed in his personal home from pole From When Issue Is Coming- 10 days Consumer Type - Rural |  |  |  |  | Consumer Problem :-Supply Failed In His Area From When Issue Is Coming :- 2HR Consumer Type :-Rural
Complaint Type- Supply failed in his 3 houses from pole From When Issue Is Coming- 1 day Consumer Type/Urban |  |  |  |  | Consumer Problem :-Supply Failed In His Area From When Issue Is Coming :-6 Days Consumer Type :-Rural
Complaint Type- Supply failed in his Area From When Issue Is Coming- today 11 AM Consumer Type --- urban |  |  |  |  | Consumer Problem :-Supply Failed In His home from pole From When Issue Is Coming :-today 4 am Consumer Type :-Rural
Complaint Type- Supply failed in his HALF Area From When Issue Is Coming-TODAY 11 AM Consumer Type/Rural |  |  |  |  | Consumer Problem :-Supply Failed In His Indus Towers From When Issue Is Coming :-2 days Consumer Type :-Rural
Complaint Type- Supply failed in his half area From When Issue Is Coming- 1day Consumer Type/Rural |  |  |  |  | Consumer Problem :-Supply Failed In His Personal shope From When Issue Is Coming :-5 days Consumer Type :-Urban
Complaint Type- Supply failed in his home from pole From When Issue Is Coming- 1 day Consumer Type - Urban |  |  |  |  | Consumer Problem ;- Supply Failed in his Village From When Issue Is Coming- Last 2 Hours Consumer Type- Rural
Complaint Type- Supply failed in his village From When Issue Is Coming- 15 days Consumer Type/Rural |  |  |  |  | Consumer Problem ;- Supply Failed in his PARASOL HOME From When Issue Is Coming-48 HRS Consumer Type- Urban
Consumer Problem - Supply Failed In His HOME FROM POLE From When Issue Is Coming - 5 day Consumer Type- Rural |  |  |  |  | Consumer Problem ;- Supply Failed in his Shop From When Issue Is Coming- 8 hrs Consumer Type- Rural
Consumer Problem - Supply Failed In His HOME FROM POLE From When Issue Is Coming - 8DAYS Consumer Type- Rural |  |  |  |  | Consumer Problem ;- Supply Failed in his Area From When Issue Is Coming-8 PM TODAY Consumer Type- Urban
Consumer Problem - Supply Failed In His FROM POLE (4 HOUSE) From When Issue Is Coming --last 1 day Consumer Type - URBAN |  |  |  |  | Consumer Problem ;- Supply Failed in his Area From When Issue Is Coming-1 HRS Consumer Type- /Urban
Consumer Problem - Supply Failed In His HOUSE FROM POLE From When Issue Is Coming --10 DAYS Consumer Type - Rural |  |  |  |  | Consumer Problem ;- Supply Failed in his Area From When Issue Is Coming-3 HRS Consumer Type- Urban
Consumer Problem - Supply Failed In His HOUSE FROM POLE From When Issue Is Coming - YESTERDAY 10 PM Consumer Type - Rural |  |  |  |  | Consumer Problem ;- Supply Failed in his village From When Issue Is Coming-12 AM TODAY Consumer Type- Rural
Consumer Problem- supply failed in his personal home from pole From When Issue Is Coming- 6 AM Today Consumer Type- Urban |  |  |  |  | consumer problem = supply failed in his area from when issue is coming - yesterday night type-- rural
Consumer Problem- supply failed in his personal home from pole From When Issue Is Coming- 7 days Consumer Type- Rural |  |  |  |  | Consumer Problem- customer home Supply Failed from pole From When Issue Is Coming- 3 days Consumer Type-Rural
Consumer Problem - Supply Failed In His Personal House From Pole From When Issue Is Coming - Today Morning - 9 : Am Consumer Type - Urban |  |  |  |  | Consumer Problem- customer home Supply Failed from pole From When Issue Is Coming- today 10.30 am Consumer Type-Urban
Consumer Problem- supply failed in his personal shop from pole From When Issue Is Coming- 2 days Consumer Type- Urban |  |  |  |  | Consumer Problem- due to One phase damage customer gali (10-12 house) supply failed From When Issue Is Coming- 30 minutes Consumer Type-Urban
Consumer Problem- supply failed in his personal shop from pole From When Issue Is Coming- 3 days Consumer Type- Urban |  |  |  |  | Consumer Problem- Half Village TF Damage Capacity;- 63 kva From When Issue Is Coming - 5 days Consumer Type- Rural
Consumer Problem - Supply Failed In His home from pole From When Issue Is Coming - TODAY 4 hour Consumer Type - Urban |  |  |  |  | Consumer Problem- low voltage in his village in his village From When Issue Is Coming - 1 hours todays Consumer Type- Urban
Consumer Problem - Supply Failed In His home from pole From When Issue Is Coming - TODAY 10:00 AM Consumer Type - Urban........ |  |  |  |  | Consumer Problem- No supply damage in his PERSONAL From When Issue Is Coming = yesterday night Consumer Type- Urban
Consumer Problem - Supply Failed In His HOUSE FROM POLE From When Issue Is Coming - TODAY 8 AM Consumer Type - Rural |  |  |  |  | Consumer Problem- One phase damage in his HALF Area From When Issue Is Coming- 2 HRS TODAY
Consumer Problem - Supply Failed In His HOUSE FROM POLE From When Issue Is Coming - 3 DAYS Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his shop(atta chakki) From When Issue Is Coming- today (morning) Consumer Type- rural
Consumer Problem - Supply Failed In His Personal (FROM POLE) From When Issue Is Coming - FROM TODAY AFTERNOON 12 PM Consumer Type - Urban |  |  |  |  | Consumer Problem -ONE PHASE Supply Failed In His Area From When Issue Is Coming - LAST 2 HOUR Consumer Type - Rural/
Consumer Problem - Supply Failed In His Personal (FROM POLE) From When Issue Is Coming - FROM TODAY MORNING 11 AM Consumer Type - Rural |  |  |  |  | Consumer Problem- One phase damage Area From When Issue Is Coming- 2 hr
Consumer Problem - Supply Failed In His personal from pole From When Issue Is Coming - 3 days Consumer Type - Rural |  |  |  |  | Consumer Problem- One phase damage From When Issue Is Coming - 11 PAM Today Consumer Type- Urban
consumer problem - supply failed in his personal HOME ( FROM POLE ) From When Issue Is Coming - 15 DAYS Consumer Type- Rural |  |  |  |  | Consumer Problem- One phase damage From When Issue Is Coming- Today 6 pm Consumer Type- Urban
Consumer Problem - Supply Failed In His Personal Home ( From Pole ) From When Issue Is Coming - Today 10 AM |  |  |  |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- today 4 hr Consumer Type--- Rural
Consumer Problem - Supply Failed In His Personal Home From Pole From When Issue Is Coming - TODAY MORNING Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in HIS HALF AREA From When Issue Is Coming - TODAY 12 PM Consumer Type- Rural/Urban
Consumer Problem - Supply Failed In His Personal Home From Pole From When Issue Is Coming - Yesterday 5:00 Am Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his MARKET (C- 20 NAYI NAJ GALL MANDI ) From When Issue Is Coming- TODAY 4 AM Consumer Type - Urban
Consumer Problem - Supply Failed In His Personal House (from pole ) From When Issue Is Coming - 6 days Consumer Type - Rural |  |  |  |  | Consumer Problem- One phase damage in his mohalla ( 4 - 5 house ) From When Issue Is Coming- afternoon 3 pm (DAILY BASIS FROM 2 MONTHS) Consumer Type- Rural
Consumer Problem - Supply Failed In His Personal House (from pole ) From When Issue Is Coming - YESTERDAY NIGHT Consumer Type -urban |  |  |  |  | Consumer Problem- One phase damage in his Ram Gopal factory From When Issue Is Coming- 2 hr Consumer Type- Urban
Consumer Problem - Supply Failed In His Personal House (From Pole ) From When Issue Is Coming - last 3 hrs Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his 15 SHOP FROM POLE From When Issue Is Coming- TODAY 12:00 PM Consumer Type- Urban
Consumer Problem - Supply Failed In His Personal House (from pole ) From When Issue Is Coming - today 7 am Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his 5 HOUSES FROM TF From When Issue Is Coming- YESTERDAY 5:00 PM Consumer Type- Rural
Consumer Problem - Supply Failed In His Personal Shop From Pole From When Issue Is Coming - 4 Days Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his 6 houses From When Issue Is Coming- today 7 am Consumer Type-Urban-
Consumer Problem - Supply Failed In His shop from pole From When Issue Is Coming - today morning Consumer Type - Urban |  |  |  |  | Consumer Problem- One phase damage in his AREA From When Issue Is Coming - TODAY 8:00 PM Consumer Type - Urban........
Consumer Problem :- SUPPLY FAILED IN HIS HOME FROM POLE From when issue is coming :- 1 DAY Consumer Type :- Urban |  |  |  |  | Consumer Problem- One phase damage in his area From When Issue Is Coming- today 1 am Consumer Type- Rural/
Consumer Problem :-Supply Failed In His HOME FROM POLE From When Issue Is Coming :-YESTERDAY 5 PM Consumer Type :-Urban |  |  |  |  | Consumer Problem- One phase damage in his area From When Issue Is Coming-2 DAYS
Consumer Problem :-Supply Failed In His house from pole From When Issue Is Coming :- 02 hrs Consumer Type :-Urban |  |  |  |  | Consumer Problem- One phase damage in his Area From When Issue Is Coming- 5 am Consumer Type- Urban
Consumer Problem :-Supply Failed In His Personal Home From Pole From When Issue Is Coming :--TODAY 9 AM Consumer Type :-Urban |  |  |  |  | Consumer Problem- One phase damage in his FACTORY ( KOYO MSC PRODUCT ) From When Issue Is Coming- 1 HRS Consumer Type- Rural
Consumer Problem :-Supply Failed In His Shop From Pole From When Issue Is Coming :- 3- 4 Day Consumer Type :-Urban |  |  |  |  | Consumer Problem- One phase damage in his FACTORY FROM POLE From When Issue Is Coming - 10 AM TODAY Consumer Type- Urban
Consumer Problem ;- Supply Failed in his home from pole From When Issue Is Coming-10 am yesterday Consumer Type- Urban |  |  |  |  | Consumer Problem- One phase damage in his HALF Area From When Issue Is Coming-1.30 HOUR Consumer Type-Urban
Consumer Problem ;- Supply Failed in his HOME FROM POLE From When Issue Is Coming-4 AM YESTERDAY Consumer Type- Urban |  |  |  |  | Consumer Problem- One phase damage in his PERSONAL From When Issue Is Coming - 1 HOUR Consumer Type- Rural/Urban
Consumer Problem ;- Supply Failed in his HOME FROM POLE From When Issue Is Coming-4 HRS Consumer Type- Urban |  |  |  |  | Consumer Problem- One phase damage in his Village tube well from tf From When Issue Is Coming- today morning Consumer Type- Rural
Consumer Problem- Supply Failed in his House from pole From When Issue Is Coming-------2 Hrs Consumer Type - URBAN |  |  |  |  | Consumer Problem- One phase damage in is area From When Issue Is Coming- yesterday 10 : 00 pm Consumer Type - Rural
Consumer Problem- Supply Failed His Personal HOME FROM POLE From When Issue Is Coming-TODAY 10AM Consumer Type - Urban- |  |  |  |  | Consumer Problem- PTW TF Damage Capacity;- 25 kva From When Issue Is Coming - Today morning Consumer Type- Rural
Consumer Problem- Supply Failed His Personal home from pole... From When Issue Is Coming-2 days Consumer Type - Urban- |  |  |  |  | Consumer Problem- supply failed in his Area From When Issue Is Coming- 2 hrs Consumer Type- Rural/Urban
Consumer Problem- Supply Failed His Personal shop from pole From When Issue Is Coming-morning- 10 am pm Consumer Type/Urban- |  |  |  |  | Consumer Problem- SUPPLY FAILED in his area From When Issue Is Coming-2 hrs CONSUMER TYPE RURAL
Consumer Problem- Supply Failed His Personal HOME FROM POLE From When Issue Is Coming-7 DAYS Consumer Type -Urban- |  |  |  |  | Consumer Problem- Supply Failed His / Village From When Issue Is Coming- today 10 am Consumer Type - Rural/ -
Consumer Problem- Supply Failed His / Personal home from pole From When Issue Is Coming- today 1 pm Consumer Type - /Urban- |  |  |  |  | Consumer Problem- Supply Failed His area From When Issue Is Coming-today 8 am Consumer Type -Urban-
Consumer Problem- Supply Failed In His HOUSE FROM POLE From When Issue Is Coming - 3 DAYS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed His area From When Issue Is Coming- 2hrs Consumer Type - /Urban-
Consumer Problem- Supply Failed In His HOUSE FROM POLE From When Issue Is Coming - 3 DAY Consumer Type- Rural/Urban |  |  |  |  | Consumer Problem- Supply Failed His Area From When Issue Is Coming- 6 hours Consumer Type-Urban
Consumer Problem- Supply Failed In His SHOP FROM POLE From When Issue Is Coming - 10 PM YESTERDAY Consumer Type- URBAN |  |  |  |  | Consumer Problem- Supply Failed His Area From When Issue Is Coming- today morning Consumer Type-Urban
Consumer Problem- Supply Failed In His 2 house from pole From When Issue Is Coming -yesterday Consumer Type- Rural/ |  |  |  |  | Consumer Problem- Supply Failed His Half Area From When Issue Is Coming- Today Morning Consumer Type - Rural
consumer problem -Supply Failed In His 5 HOUSE FROM POLE From When Issue Is Coming- 2 DAYS Consumer Type - Rural |  |  |  |  | Consumer Problem- Supply Failed His Half Area From When Issue Is Coming- today 3 pm Consumer Type-Urban
Consumer Problem- Supply Failed In His Home Form Pole From When Issue Is Coming - 3 Hours Today Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed His Half Area/ From When Issue Is Coming- 10 am Consumer Type - /Urban-
Consumer Problem- supply failed in his home from pole From When Issue Is Coming-24 hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed His VILLAGE From When Issue Is Coming- 24 hrs Consumer Type - Rural
Consumer Problem- supply failed in his HOUSE FROM POLE From When Issue Is Coming- 5-6 DAYS Consumer Type--Urban |  |  |  |  | Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 6 am Consumer Type-Rural
Consumer Problem- Supply Failed In His parsnaol HOME from pole) From When Issue Is Coming- 3 days Consumer Type/Rural |  |  |  |  | Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 6 am Consumer Type-Rural
consumer problem -Supply Failed In His PERSONAL HOME FROM POLE From When Issue Is Coming- 1HRS consumer type- urban |  |  |  |  | Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 9 am Consumer Type-Rural
Consumer Problem- Supply Failed In His Personal Home (From Pole) From When Issue Is Coming- 6 days Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 9.30 am Consumer Type-Rural
Consumer Problem- Supply Failed In His PERSONAL HOME FROM POLE From When Issue Is Coming -TODAY 3:00AM Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed His village From When Issue Is Coming-10 HOURS Consumer Type-Rural
consumer problem -Supply Failed In His personal home from pole From When Issue Is Coming-yesterday 10 am |  |  |  |  | Consumer Problem- Supply Failed In 10-12 HOUSES FROM POLE From When Issue Is Coming - YESTERDAY 11 PM Consumer Type- Urban
consumer problem -Supply Failed In His personal home from pole From When Issue Is Coming- 2 days |  |  |  |  | Consumer Problem------ Supply Failed In 3 Houses From When Issue Is Coming----- 3 days Consumer Type :- rural
Consumer Problem- Supply Failed In His Personal Home From Pole From When Issue Is Coming- 3 Days Consumer Type- Rural |  |  |  |  | consumer problem supply failed in her house From When Issue Is Coming - today 8 am Consumer Type- Urban
Consumer Problem- Supply Failed In His personal home from pole.... From When Issue Is Coming--TODAY 9 PM Consumer Type--Urban |  |  |  |  | Consumer Problem- Supply Failed In His 2, 3 house From When Issue Is Coming --- 3 hours Consumer Type- /Urban
Consumer Problem- Supply Failed In His Personal House ( From Pole ) From When Issue Is Coming- 3 DAYS Consumer Type- RURAL |  |  |  |  | Consumer Problem- Supply Failed In His 8,10 house From When Issue Is Coming - morning 8 am Consumer Type- Urban
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming - from 3 hors Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed in His Area From When Issue Is Coming - 25 days Consumer Type- Rural
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming - 5 HOURS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His area From When Issue Is Coming-1 HOUR Consumer Type/ /Urban-
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming - 12pm today |  |  |  |  | Consumer Problem- Supply Failed In His half Area From When Issue Is Coming - 3 : 00 pm today
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming -9 AM TODAY Consumer Type- Urban |  |  |  |  | consumer problem -Supply Failed In His MOHALLA From When Issue Is Coming- 3days consumer type -rural
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming -1 HRS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His Personal govt. school From When Issue Is Coming - 2 days Consumer Type- /Urban
Consumer Problem- Supply Failed In His Personal house from pole From When Issue Is Coming - last 1:30 hrs Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His PTWs LINE From When Issue Is Coming - 3 DAYS Consumer Type- Rural (TWITTER CASE)
Consumer Problem- Supply Failed In His Personal House From Pole From When Issue Is Coming - LAST 2 DAYS Consumer Type- Urban |  |  |  |  | CONSUMER PROBLEM- SUPPLY FAILED IN HIS village From When Issue Is Coming - 6 pm yesterday Consumer Type- Rural
Consumer Problem- Supply Failed In His Personal house from pole From When Issue Is Coming - yesterday 12 pm Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply failed in his village From When Issue Is Coming - 15 days Consumer Type- Rural
Consumer Problem- Supply failed in his personal shop form pole From When Issue Is Coming-1 hour today |  |  |  |  | consumer problem -Supply Failed In His 3 homes from pole From When Issue Is Coming-today 8 am
Consumer Problem- Supply Failed In His PERSONAL SHOP FROM POLE From When Issue Is Coming - 2 DAYS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed in His AREA From When Issue Is Coming - YESTERDAY= 10 PM Consumer Type- Urban
consumer problem -Supply Failed In His personal shop from pole From When Issue Is Coming-today 2 pm |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming=6 Pm Todays
Consumer Problem- Supply Failed In His Personal shop from pole From When Issue Is Coming - 24 hrs Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His Area Village From When Issue Is Coming - today 12 am Consumer Type- Rural
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming- 4 hr Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in His Area From When Issue Is Coming - Today 4PM Consumer Type- Urban
Consumer Problem-Supply Failed In His Half Area From When Issue Is Coming- 5 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming - FROM 12 PM Consumer Type- Urban
Consumer Problem-Supply Failed In His Area From When Issue Is Coming- 2 hr Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 4 hour Today Consumer Type- Urban
Consumer Problem - Supply Failed In His 5 HOUSE From When Issue Is Coming - 8 HOURS Consumer Type- Rural/ |  |  |  |  | Consumer Problem-- Supply Failed In His AREA From When Issue Is Coming- TODAY 10 AM Consumer Type - Urban
Consumer Problem-Supply Failed In His 20 house From When Issue Is Coming - today 12:00 pm Consumer Type- urban |  |  |  |  | Consumer Problem- Supply failed in his Area From When Issue Is Coming = today morning 10:00 am Consumer Type- Urban
Consumer Problem- supply failed in his personal house From When Issue Is Coming-last 2 days Consumer Type - Urban |  |  |  |  | Consumer Problem- SUPPLY FAILED IN HIS AREA From When Issue Is Coming- 2 HOUR Consumer Type:- Rural (Twitter Case)
Consumer Problem - Supply Failed In His 20 HOUSE From When Issue Is Coming - YESTERDAY 10 PM Consumer Type- Rural/ |  |  |  |  | CONSUMeR PROBLEM -SUPPLY FAILED IN HiS AREA From When Issue Is Coming -today 11 am Consumer Type- /Urban
Consumer Problem - Supply Failed In His HOME From When Issue Is Coming - LAST 6 HOUR Consumer Type - /Urban |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming- Today 8:30 PM Consumer Type- Urban
Consumer Problem- Supply Failed In His AREA From When Issue Is Coming- 5 days Consumer Type/Rural/ - |  |  |  |  | Consumer Problem-- Supply Failed In His Area From When Issue Is Coming-- Today Last 2 hours Consumer Type-- Urban .
Consumer Problem-Supply Failed In His 4 HOUSES From When Issue Is Coming - 1 HOURS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His AREA From When Issue Is Coming--2 HOUR Consumer Type--urban
Consumer Problem-Supply Failed In His 2 HOUSE From When Issue Is Coming - today 7 am Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His AREA From When Issue Is Coming--4 HOUR Consumer Type--urban
Consumer Problem-Supply Failed In His 4 house From When Issue Is Coming - 4 days Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His area From When Issue Is Coming--today 5:30 am Consumer Type- Urban
Consumer Problem-Supply Failed In His Personal home From When Issue Is Coming - 1day Consumer Type-Urban |  |  |  |  | Consumer Problem- Supply Failed In His Area Form T/F From When Issue Is Coming - 5 PM TODAY Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 12 HRS Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Area From T/F From When Issue Is Coming - 2 Hrs Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 2 HRS Consumer Type- Rural |  |  |  |  | consumer problem -Supply Failed In His Area FROM TF From When Issue Is Coming- YESTERDAY NIGHT consumer type- rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 4 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in His Area From When Issue Is Coming - today morning Consumer Type- Rural/Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 7 HRS Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in His Area From When Issue Is Coming -Today Morning Consumer Type- Urban
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 8 HRS Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in His area From When Issue Is Coming - 2 hours mer Type- Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming -1 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in His Area From When Issue Is Coming -24 hours Consumer Type- Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming -2 HRS Consumer Type- Rural |  |  |  |  | Consumer Problem- supply failed in his area From When Issue Is Coming-morning 12 PM Consumer Type- Rural
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 12 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- supply failed in his area From When Issue Is Coming- SINCE 2 HR Consumer Type - Rural
Consumer Problem-Supply Failed In His Area From When Issue Is Coming -Last 3Hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 12 PM TODAY Consumer Type- Urban
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 4 days Consumer Type- Rural |  |  |  |  | Consumer Problem-- Supply Failed In His Area From When Issue Is Coming-- last 1and half hour Consumer Type-- Urban
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 2 hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His AREA From When Issue Is Coming - Today 1 Hours Consumer Type- Urban
Consumer Problem-Supply Failed In His Area From When Issue Is Coming - 6 HRS Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming- 11 am today Consumer Type/Urban
Consumer Problem-Supply Failed In His House From When Issue Is Coming-- TODAY 7 AM Consumer Type -Urban |  |  |  |  | consumer problem- supply failed in his area from when issue is coming- 21/06/2025 consumer type- rural
Consumer Problem-Supply Failed In His House From When Issue Is Coming-- yesterday 1 pm Consumer Type -Urban |  |  |  |  | Consumer Problem- Supply Failed In His Area From When Issue Is Coming- 8 am today Consumer Type- Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 1 HR Consumer Type- Rural |  |  |  |  | consumer problem -Supply Failed In His Area From When Issue Is Coming-today 1 hr consumer type - rural
Consumer Problem - Supply Failed In His AREA From When Issue Is Coming - 3 DAYS Consumer Type- Rural |  |  |  |  | CONSUMER PROBLEM- SUPPLY FAILED IN HIS AREA FROM WHEN ISSUE SI COMING- 4 HOURS CONSUMER TYPE- RURAL
Consumer Problem - Supply Failed in His home From When Issue Is Coming -3 days Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His FACTORY From When Issue Is Coming - YESTERDAY 7 AN Consumer Type- URBAN
Consumer Problem- supply failed in his HOUSE From When Issue Is Coming - 2 DAYS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His Gov. Upper Primary School ( From Pole ) From When Issue Is Coming - 2 Months Consumer Type- Rural
consumer problem - supply failed in his area From When Issue Is Coming - 2 days Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His half area From When Issue Is Coming- 11 AM TODAY Consumer Type- rural
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 DAYS Consumer Type - Rural |  |  |  |  | Consumer Problem- Supply Failed In His HALF AREA FROM TF From When Issue Is Coming - 2 hr. Consumer Type- Urban
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 5 Hours Consumer Type - Rural |  |  |  |  | Consumer Problem--- Supply Failed In His half area From When Issue Is Coming--- yesterday Consumer Type- Urban
Consumer Problem - Supply Failed in His Area 4 home From When Issue Is Coming - last 2 hour Consumer Type- Urban |  |  |  |  | consumer problem -Supply Failed In His Half Mohalla From When Issue Is Coming- 10 am today
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 hrs Consumer Type - Rural |  |  |  |  | Consumer Problem- Supply Failed In His half Mohalla / From When Issue Is Coming - today 4 hours Consumer Type- Urban/
Consumer Problem - Supply Failed In His Area From When Issue Is Coming - 2 Hours Consumer Type - Rural |  |  |  |  | Consumer Problem------ Supply Failed In his House From When Issue Is Coming----- today morning Consumer Type :- rural
Consumer Problem- supply failed in his area From When Issue Is Coming - 7 hrs Consumer Type- Rural |  |  |  |  | consumer problem- supply failed in his mohalla From when issue is coming - today 6 pm
Consumer Problem- supply failed in his area From When Issue Is Coming - 1 hour Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Mohalla From When Issue Is Coming- 1 hr
Consumer Problem- supply failed in his area From When Issue Is Coming - 2 hrs Consumer Type- Rural |  |  |  |  | Consumer problem- Supply failed in his Mohalla from when issue is coming- 3 Hours
Consumer Problem- supply failed in his area From When Issue Is Coming - 4 hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His mohalla/ From When Issue Is Coming - 5 days Consumer Type- Rural/
Consumer Problem - Supply Failed in His Area From When Issue Is Coming - last 5 hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His parsnaol from pole) From When Issue Is Coming- 1 days Consumer Type/Rural
Consumer Problem - Supply Failed In His HALF AREA From When Issue Is Coming - 4 HRS Consumer Type - Rural/ |  |  |  |  | Consumer Problem- Supply Failed In His personal from pol From When Issue Is Coming- TODAY 9 AM Consumer Type--Rural
Consumer Problem- supply failed in his half area From When Issue Is Coming - 4 days Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His personal home From When Issue Is Coming - 1 HR Consumer Type- Rural
Consumer Problem- supply failed in his HALF AREA From When Issue Is Coming- LAST 2 DAYS Consumer Type- Rural |  |  |  |  | consumer problem supply failed in his personal from when issue is coming - today morning
Consumer Problem- supply failed in his home From When Issue Is Coming - today 7 am Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Personal [P K GAS SERVICE] From When Issue Is Coming- 1 day Consumer Type/RuraL
Consumer Problem - Supply Failed In His HOUSE From When Issue Is Coming - TODAY 5 AM Consumer Type - Urban |  |  |  |  | Consumer Problem- Supply Failed In His personal factory from pole From When Issue Is Coming- YESTERDAY 2 PM Consumer Type/Urban
Consumer Problem - Supply Failed in His house From When Issue Is Coming - morning 4 AM Consumer type - Rural |  |  |  |  | Consumer Problem- Supply Failed In His Personal From Pole From when issue is coming :- Today 5 Pm Consumer Type :-Urban
consumer problem - supply failed in his personal home From When Issue Is Coming -9.00 am yesterday Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His personal Gramin Bank Of Aryavart From When Issue Is Coming - 7 days Consumer Type- Rural
Consumer Problem- supply failed in his personal Home From When Issue Is Coming - 10:00 am (morning) Consumer Type- Urban |  |  |  |  | CONSUMER PROBLEM- SUPPLY FAILED IN HIS personal home From When Issue Is Coming - 8 hr
Consumer Problem ;- Supply Failed in his personal home From When Issue Is Coming- 12 hrs Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed in His Personal House From When Issue Is Coming - 5 DAYS
Consumer Problem- SUPPLY FAILED IN HIS area From When Issue Is Coming - 3 hr Consumer Type- rural |  |  |  |  | Consumer Problem- Supply Failed In His personal tuvewell because The fuse in the transformer is damaged From When Issue Is Coming -2 days Consumer Type- Rural/
Consumer Problem- Supply Failed His Area From When Issue Is Coming- 2 hours Consumer Type-Rural |  |  |  |  | Consumer Problem- supply failed in his school from pole From When Issue Is Coming- 4 days Consumer Type - Rural
Consumer Problem- Supply Failed His Area From When Issue Is Coming- 2 hours Consumer Type-Rural |  |  |  |  | Consumer Problem- Supply Failed In His Vill From When Issue Is Coming -24 Hr today
Consumer Problem- Supply Failed His area From When Issue Is Coming- 3-4 hours Consumer Type-Rural |  |  |  |  | consumer problem -Supply Failed In His Village From When Issue Is Coming-Today 3 Pm Consumer Type/Rural
Consumer Problem- Supply Failed In His Half Area From When Issue Is Coming-6 hrs Consumer Type/Rural |  |  |  |  | Consumer Problem--- Supply Failed In His Village From When Issue Is Coming - 2 HOURS Consumer Type- Rural
consumer problem -Supply Failed In His PERSONAL HOME From When Issue Is Coming- TODAY MORNING consumer type- urban |  |  |  |  | CONSUMER PROBLEM- SUPPLY FAILED IN HIS VILLAGE From When Issue Is Coming - 4 AM TODAY Consumer Type- Rural
Consumer Problem- Supply Failed In His 10 Home From When Issue Is Coming- Today 3 PM Consumer Type - Rural |  |  |  |  | Consumer Problem------ Supply Failed In his village From When Issue Is Coming----- 2 days Consumer Type :- rural
Consumer Problem- Supply Failed In His 10 HOME From When Issue Is Coming- TODAY 5:30 PM Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His Village From When Issue Is Coming- 6 am today Consumer Type/Rural
Consumer Problem- Supply Failed in His Area From When Issue Is Coming - 3 hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His VILLAGE From When Issue Is Coming- Yesterday 10 Pm Consumer Type - Rural ( Gmail Case )
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 1 Hrs Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His village ( mohalla ) from t / f From When Issue Is Coming - 3 day Consumer Type- Rural
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - last 3 hours Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed In His Village / From When Issue Is Coming - TODAY 5 am Consumer Type- Rural/
Consumer Problem- Supply Failed In His Area From When Issue Is Coming - 5 HOURS Consumer Type- Rural |  |  |  |  | Consumer Problem- Supply Failed in his Village From When Issue Is Coming- Today 9 Am Consumer Type- Rural
Consumer Problem- Supply Failed In His AREA ( 10 HOUSES ) From When Issue Is Coming- LAST 24 HRS Consumer Type- Urban |  |  |  |  | Consumer Problem- Supply Failed In His village From When Issue Is Coming - 5 day Consumer Type- Rural/Urban
Consumer Problem- Supply Failed In His area From When Issue Is Coming - last 1 hour Consumer Type - Rural |  |  |  |  | Consumer Problem- supply failed in his village From When Issue Is Coming- 1 pm today Consumer Type/Rural
consumer problem- supply failed in his area from when issue is coming- 1 day consumer type- rural |  |  |  |  | Consumer Problem- Supply Failed In His Village From When Issue Is Coming- 7 am today Consumer Type - Rural
consumer problem- supply failed in his area from when issue is coming- 3 days consumer type- rural |  |  |  |  | Consumer Problem- Supply Failed In His Village From When Issue Is Coming- Today 9 AM Consumer Type- Rural
Consumer Problem- Supply Failed In His Home From When Issue Is Coming- 1 days Consumer Type/Urban-
Consumer Problem- supply failed in his home From When Issue Is Coming- 1 hours Consumer Type - Urban
Consumer Problem- Supply Failed In His house From When Issue Is Coming-yesterday 11 pm Consumer Type- Urban
Consumer Problem- Supply Failed In His Personal Home From When Issue Is Coming- Today 30 minutes Consumer Type- Urban
Consumer Problem- Supply Failed in His Personal House From When Issue Is Coming - 5 DAYS Consumer Type- Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - 2 DAYS Consumer Type- Rural/
Consumer Problem-Supply Failed In His Half Village From When Issue Is Coming- 12 days Consumer Type- Rural
Consumer Problem- supply failed in his village From When Issue Is Coming- Today 1 pm
Consumer Problem - Supply Failed In His village From When Issue Is Coming - 3 pm today Consumer Type - Rural
Consumer Problem- Supply Failed In His Village/ From When Issue Is Coming yesterday 9 :00 am Consumer Type- Rural
Consumer Problem - SUPPLY FAILED in his village From When Issue Is Coming - 3 Hours Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming -2 DAYS Consumer Type- Rural
CONSUMER PROBLEM- SUPPLY FAILED IN HIS village From When Issue Is Coming - today 3 : 00 am Consumer Type- Rural
consumer problem -supply failed in his half village from when issue is coming-- yesterday 6pm consumer type -Rural
Consumer Problem-Supply Failed In His Village From When Issue Is Coming- yesterday 8 pm Consumer Type- Rural
Consumer Problem-Supply Failed In His Village From When Issue Is Coming - 4 PM TODAY Consumer Type- Rural
Consumer Problem-Supply Failed In His village FROM TF From When Issue Is Coming - 48 HRS Consumer Type - Rural/
Consumer Problem -Supply Failed In His village From When Issue Is Coming - YESTERDAY 4 PM Consumer Type- Rural
Consumer Problem-Supply Failed In His village From When Issue Is Coming - 3 pm TODAY Consumer Type- Rural
Consumer Problem - Supply Failed in His village From When Issue Is Coming - 5 hrs Consumer Type- Rural
Consumer Problem-Supply Failed In His half village From When Issue Is Coming -12 days Consumer Type- Rural
Consumer Problem-Supply Failed In His VILLAGE From When Issue Is Coming - 8 DAYS Consumer Type- Rural
consumer problem - supply failed in his village From when issue is coming- yesterday 8pm Consumer type- Rural
consumer problem - supply failed in his village From When Issue Is Coming- 9AM today Consumer Type- Rural
Consumer Problem - Supply Failed In His half Village From When Issue Is Coming- 3-4 hrs Consumer Type - Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming - 2 DAY Consumer Type - Rural
Consumer Problem - Supply Failed In His HALF VILLAGE From When Issue Is Coming - 3 DAYS Consumer Type - Rural
Consumer Problem- supply failed in his half Village From When Issue Is Coming- 3 pm today Consumer Type- Rural
Consumer Problem - Supply Failed In His HALF VILLAGE FROM TF From When Issue Is Coming - TODAY 12 PM Consumer Type - Rural
Consumer Problem- Supply Failed In His half village From When Issue Is Coming - 1 Days Consumer Type- Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 2 DAYS Consumer Type- Rural
Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - 2 DAYS Consumer Type - Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming - today 12 am Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - TODAY 9:00 AM Consumer Type - Rural....
Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - YESTERDAY 7:00 PM Consumer Type - Rural.....
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 2 HOURS
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - Today 4 PM
Consumer Problem - Supply Failed In His Village From When Issue Is Coming -- TODAY 4:00 PM Consumer Type - Rural......
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - yesterday 3 PM Consumer Type-Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 2 DAYS Consumer Type -Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 24 HOURS
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 5 HOUR
Consumer Problem- supply failed in his Village From When Issue Is Coming- 2 days Consumer Type- Rural
Consumer Problem- supply failed in his Village From When Issue Is Coming- 9 am today Consumer Type- Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming -today 12 am Consumer Type - Rural
Consumer Problem- supply failed in his village From When Issue Is Coming- yesterday 10 pm Consumer Type - Rural
Consumer Problem - supply failed in his village from tf From When Issue Is Coming- last 2 days Consumer Type Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 9 AM TODAY Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 2 Days Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 8 Hours Consumer Type - Rural
Consumer Problem - Supply Failed In His VILLAGE From When Issue Is Coming - Today 2 PM Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - Today 6 Am Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 6 Hours Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - 4 days Consumer Type- Rural
Consumer Problem - Supply Failed in His Village From When Issue Is Coming - 3 DAYS Consumer Type- Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming - yesterday 7 pm Consumer Type - Rural
Consumer Problem - Supply Failed In His Village From When Issue Is Coming - Today 3 PM Consumer Type - Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming -today 10:00 Am Consumer Type - Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming -today 11:00 am Consumer Type - Rural
Consumer Problem - Supply Failed In His village From When Issue Is Coming -YESTERDAY 5:30 am Consumer Type - Rural
Consumer Problem - Supply failed in his VILLAGE From When Issue Is Coming -yesterday 10 pm Consumer Type - Rural
Consumer Problem - Supply failed in his VILLAGE From When Issue Is Coming -yesterday 12 Am Consumer Type - Rural
Consumer Problem : SUPPLY FAILED IN HIS VILLAGE From when issue is coming :- today 2 am Consumer Type :-Rural
Consumer Problem :-Supply Failed In His village From When Issue Is Coming :-today 8 am Consumer Type :-Rural
Consumer Problem :-Supply Failed In His village From When Issue Is Coming :-today 9 am Consumer Type :-Rural
Consumer Problem ;- Supply Failed in his half Village From When Issue Is Coming-24 HRS Consumer Type- Rural
Consumer Problem ;- Supply Failed in his Village From When Issue Is Coming-3 DAYS Consumer Type- Rural
Consumer Problem- Supply Failed His half Village From When Issue Is Coming- 3 days Consumer Type-Rural
Consumer Problem- Supply Failed His Village From When Issue Is Coming- 2 Days Consumer Type - Rural
Consumer Problem- Supply Failed His Village From When Issue Is Coming- 15 hrs
Consumer Problem- Supply Failed His Village From When Issue Is Coming- 3 days Consumer Type-Rural
Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 2 hours Consumer Type-Rural
Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 3-4 hours Consumer Type-Rural
Consumer Problem- Supply Failed His Village From When Issue Is Coming- today 4 hours Consumer Type-Rural
Consumer Problem- SUPPLY FAILED IN HIS VILLAGE From When Issue Is Coming- 3 days Consumer Type- Rural
consumer problem -Supply Failed In His Half village From When Issue Is Coming-yesterday 11 pm Consumer Type/Rural
Consumer Problem- Supply Failed In His half village From When Issue Is Coming - 24 hrs Consumer Type- Rural
Consumer Problem- Supply Failed In His village From When Issue Is Coming- today 6 am Consumer Type- Rural
CONSUMER PROBLEM- SUPPLY FAILED IN HIS VILLAGE From When Issue Is Coming - yesterday 12 am Consumer Type- Rural
Consumer Problem- Supply Failed In His Village / From When Issue Is Coming -yesterday 5 pm Consumer Type- Rural/
Consumer Problem- Supply Failed In His Village from tf From When Issue Is Coming - last 24 hr Consumer Type- Rural
consumer problem -Supply Failed In His HALF VILLAGE FROM TF From When Issue Is Coming- YESTERDAY 6 PM Consumer Type - Rural
Consumer Problem- Supply Failed In His half Village From When Issue Is Coming - yesterday 7 pm Consumer Type- Rural
consumer problem -supply failed in his half village From when issue is coming- 3 days Consumer type- Rural
Consumer problem- Supply failed in his Half Village from when issue is coming- 3 Hours
Consumer Problem- Supply Failed In His Half Village From When Issue Is Coming- YESTERDAY 3 PM Consumer Type- Rural
Consumer Problem- Supply Failed In His VILLAGE From When Issue Is Coming - TODAY 12 AM Consumer Type- Rural
consumer problem -Supply Failed In His village From When Issue Is Coming-3 hours Consumer Type-Rural
consumer problem -Supply Failed In His Village From When Issue Is Coming- 2 Days Consumer Type/Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - 2 days Consumer Type- Rural/
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - 4 Hours Consumer Type- Rural
Consumer Problem- SUPPLY FAILED in his Village From When Issue Is Coming - 2 Hours Consumer Type- Rural
Consumer Problem- Supply Failed In His village From When Issue Is Coming - 3 days
Consumer Problem- Supply Failed In His VILLAGE From When Issue Is Coming - 3 hr. Consumer Type- Rural
Consumer Problem- Supply Failed In His VILLAGE From When Issue Is Coming - 4 DAYS Consumer Type- Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - Today 1 Pm
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - Today 1 PM Consumer Type- Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming - Today 11:30 am Consumer Type- Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming- 1 DAY Consumer Type--Rural
Consumer Problem- Supply Failed In His village From When Issue Is Coming-today 5 am Consumer Type- Rural
consumer problem -Supply Failed In His village From When Issue Is Coming-yesterday 5.00 pm Consumer Type- Rural
Consumer Problem- Supply Failed In His village From When Issue Is Coming - 1 hrs Consumer Type- Rural
Consumer Problem- supply failed in his village From When Issue Is Coming- 2 days Consumer Type/Rural/
Consumer problem- Supply failed in his Village from when issue is coming- 3 Hours
Consumer Problem- SUPPLY FAILED IN HIS VILLAGE From When Issue Is Coming- 4 DAY Consumer Type - Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming- Today 12 PM Consumer Type- Rural
Consumer Problem- Supply Failed In His Village From When Issue Is Coming- Today 6 AM Consumer Type- Rural